MECHANICAL SERVICES, INC.

17219 Bel-Ray Place

Belton, MO  64021

Phone (816) 322-0810   Fax (816) 322-8407

www.fgmechanical.com

PREFERRED CUSTOMER MAINTENANCE BENEFITS

Your “DISCOUNT CLUB” Membership is designed to “PAY FOR ITSELF” with fewer breakdowns and extended equipment life. We run very few repair calls for customers who regularly schedule maintenance.

PRE-SEASON COOLING TUNE-UP AND FURNACE SAFETY CHECKS are included at no additional charge. Our semi-annual preventative maintenance will return your cooling/heating system as close to its original manufactured condition as possible.

DISCOUNTS Discount Club Members receive and 10% discount on parts and labor for repairs or replacements.

PREVENT MOST BREAKDOWNS BEFORE THEY OCCUR Most service calls are predictable and avoidable with semi-annual preventative maintenance. Routine service maintains high efficiency, lengthens equipment life and helps avoid costly repairs. Discount Club Members receive “priority treatment”. You will be placed ahead of everyone else who calls for service who is not a Club Member.

SUMMER COOLING CHECKS	WINTER HEATING CHECKS

- Install gauges and check operating pressures		Check for Carbon Monoxide

- Check voltage and amperage to all motors		Check heat exchangers

- Check air temperature drop across evaporator		Check all safety controls

- Check for adequate refrigerant charge			Check for gas leaks

- Check evaporator superheat			Check flue pipe and draft

- Lubricate all necessary parts as needed		 	Check fan control

- Check belts and adjust tension as needed		 	Check temperature rise

- Check air filters			 	Check thermostat

- Clean condenser coil as needed			Check air filter

- Check electrical lockout circuits		 	Check bearings on blower and motor as

- Check compressor contactor contacts		needed

- Check all wiring for loose connections			Lubricate all moving parts (where applicable)

- Adjust thermostat to check proper operation		 	Check all electrical elements

- Check air temperature across condenser coil		Clean condensate trap if applicable

- Check that condensate drain is open		 	Clean burners as needed

Adjust burners as needed

Check complete heat cycle

ALL THIS FOR ONLY $140.00   ~   REGULARLY PRICED AT $190.00

(Price subject to change depending on system and location of equipment)

HUMIDIFIER MAINTENANCE    $35.00

- Check proper operation

- Check and clean drain if needed

- Check water flow

- Check humidifier pad (replacement pad not included)

Additional systems will be additional charge – price of $140 is for the first system – Price does not include replacement filters or sales tax.